Proposed packing list for final IDTM ( 3 new pods)

A: configuration with two small single rooms

B: configuration with one large room

| Parcel numb. | Package type for shipment | Item package | Label | Contents/Item description |
| --- | --- | --- | --- | --- |
| 1 | Europallet | White PVC bag | IDTM Pod | One pod inflatable structure, external liner, inner liner (silver) pre-installed |
| 2 | Europallet | White PVC bag | IDTM Pod | One pod inflatable structure, external liner, inner liner (silver) pre-installed |
| 3 | Europallet | White PVC bag | IDTM Pod | One pod inflatable structure, external liner, inner liner (silver) pre-installed |
| 4 | Europallet | Grey PVC bag | Vestibule external | vestibule structure and external liner vestibule silver liner (not pre-installed) |
|  |  | Grey PVC bag | Vestibule external | vestibule structure and external liner vestibule silver liner (not pre-installed) |
|  |  | Grey PVC bag | Vestibule | vestibule structure and external liner vestibule silver liner pre-installed |
|  |  | Grey PVC bag | Vestibule | vestibule structure and external liner vestibule silver liner pre-installed |
| 5A | Europallet | Grey PVC bag | Patient room cabin A | Small patient room cabin, configuration A |
|  |  | Grey PVC bag | Patient room cabin A | Small patient room cabin, configuration A |
|  |  | Grey PVC bag | Patient Room A Portals | Portal 1: double windows Portal 2: double windows Portal 3: double doors |
|  |  | Grey PVC bag | Bars for patient room | 3 bars for 1 pod |
|  |  | Grey PVC bag | Bars for patient room | 3 bars for 1 pod |
| 6A | Europallet | Grey PVC bag | Patient room cabin A | Small patient room cabin, configuration A |
|  |  | Grey PVC bag | Patient room cabin A | Small patient room cabin, configuration A |
|  |  | Grey PVC bag | Patient Room A Portals | Portal 1: double windows Portal 2: double windows Portal 3: double doors |
|  |  | Grey PVC bag | Staff Portals | Portal 1: double windows Portal 2: single door |
| 5B | Europallet | Grey PVC bag | Patient room cabin B | Large patient room cabin, configuration B |
|  |  | Grey PVC bag | Patient Room B Portals | Portal 1: double windows Portal 2: double windows Portal 3: single doors |
|  |  | Grey PVC bag | Bars for patient room | 3 bars for 1 pod |
|  |  | Grey PVC bag | Bars for patient room | 3 bars for 1 pod |
| 6B | Europallet | Grey PVC bag | Patient room cabin B | Large patient room cabin, configuration B |
|  |  | Grey PVC bag | Patient Room B Portals | Portal 1: double windows Portal 2: single window Portal 3: single doors |
|  |  | Grey PVC bag | Staff Portals | Portal 1: double windows Portal 2: single door |
| 7 | Europallet | Aluminium box | Technical Box | 3 x electric kits 3 x repairing kit Gloves and rings Transparent interface specific components |
|  |  | Aluminium box | Shadow nets | Shadow net 1 + structure Shadow net 2 + structure Shadow net 3+ structure |
| 8 | Europallet | Aluminium box | Installation Box | 3 x blowers 3 x inflation kit 2 x Manual inflator 3 x Anchoring kit |
|  |  | Grey PVC bag | Vestibule staking kit | 4 x vestibule structural reinforcement |
|  |  | Grey PVC bag | Poles for sun shadowing nets | Metallic poles for the sun shadowing nets installation |
| 9 | Europallet |  | tiles | Tiles for 1 pod |
| 10 | Europallet |  | tiles | Tiles for 1 pod |
| 11 | Europallet |  | tiles | Tiles for 1 pod |